## ReadMe
Sheet Name | Description
1aNonComplianceInformation | Information on non-compliance of drinking water in large* water supply zones (including supply point and indicator parameters).
1bNonComplianceInformation | Information on non-compliance of drinking water in small** water supply zones (including supply point and indicator parameters).
2aAdditonalInformation | Additional information relating to cause, remedial action (including restrictions on use) and associated timeframes for non-compliances in large* water supply zones (see coding systems below). Note: where the same parameter has been reported as a non-compliance on more than one occasion in a water supply zone and the non-compliances do not have the same cause/remedial action/timeframe, group non-compliances according to the cause and report on separate lines.
2bAdditonalInformation | Additional information relating to cause, remedial action (including restrictions on use) and associated timeframes for non-compliances in small** water supply zones (see coding systems below). Note: where the same parameter has been reported as a non-compliance on more than one occasion in a water supply zone and the non-compliances do not have the same cause/remedial action/timeframe, group non-compliances according to the cause and report on separate lines.
3aWaterSupplyZones | Information on large* individual water supply zones (or supply points) including residential population and/or volume of water supplied in m³/d (annual average), status and location (e.g. centroid).
3bWaterSupplyZones | Information on small** individual water supply zones (or supply points) including residential population and/or volume of water supplied in m³/d (annual average), status and location (e.g. centroid).
* water supply zones where the supply of water exceeds 1000m3 per day or serves more than 5,000 persons **water supply zones where the supply of water is less than 1000m3 per day or serves less than 5,000 persons
1.1 Coding system for the causes of non-compliance (Sheets 2a & 2b)
Code | Cause
C | Catchment related
T | Treatment Plant related
P | Public Distribution Network related
D | Domestic Distribution System related
O | Other Cause
S | Combined Causes
U | Unknown Cause
1.2 Coding system for remedial actions in case of non-compliance (Sheets 2a & 2b)
CODE* | Description of remedial action
C for catchment related
C1 | Action(s) to terminate or mitigate the cause
C2 | Action(s) to replace source
T for treatment related
T | Establishing, upgrading or improving treatment
P for public distribution network related
P1 | Replacement, disconnection or repair of defective components
P2 | Cleaning, scouring and/or disinfecting contaminated components
D for domestic distribution system**
D1 | Replacement, disconnection or repair of defective components
D2 | Cleaning, scouring and/or disinfecting contaminated components
S for Security measures to prevent unauthorised access
S1 | Security measures to prevent unauthorised access
O for Others
E for Emergency actions for the consumers’ health and safety
E1 | Notification of and instructions to consumers (for example, prohibition of use, boil water order, temporary limitations on consumption).
E2 | Provision of a temporary alternative drinking water supply (for example, bottled water, water in containers, tankers).
N for None Required
*More than one of the above codes may apply
**Including domestic installations where water is served to the public
1.3 Coding system for the timeframe of restriction or prohibition in use (Sheets 2a & 2b)
Code | Timeframe
I | Immediate i.e. not more than 1 day
V | Very short-term i.e. not more than one week
S | Short-term, i.e. not more than 30 days
M | Medium-term, i.e. more than 30 days but not more than a year
L | Long-term, i.e. more than a year
1.4 Coding system for the timeframe of corrective actions (Sheets 2a & 2b)
Code | Timeframe
I | Immediate i.e. not more than 1 day
S | Short-term, i.e. not more than 30 days
M | Medium-term, i.e. more than 30 days but not more than a year
L | Long-term, i.e. more than a year

## 1aNonComplianceInformation
WaterSupplyZoneID | Parameter | Total Analysis | Total NonCompliances | Maximum Value (reported for parameter in WSZ) | Median (TotalAnalysis) | Median (NonCompliances) | Year

## 1bNonComplianceInformation
WaterSupplyZoneID | Parameter | Total Analysis | Total NonCompliances | Maximum Value (reported for parameter in WSZ) | Median (TotalAnalysis) | Median (NonCompliances) | Year

## 2aAdditonalInformation
WaterSupplyZoneID | Parameter | Cause | Remedial Action | Remedial Action Time frame | UseRestriction (Y/N) | UseProhibition (Y/N) | Restriction or Prohibition Code | Restriction or Prohibition Timeframe | Year

## 2bAdditonalInformation
WaterSupplyZoneID | Parameter | Cause | Remedial Action | Remedial Action Time frame | UseRestriction (Y/N) | UseProhibition (Y/N) | Restriction or Prohibition Code | Restriction or Prohibition Timeframe | Year

## 3aWaterSupplyZones
WaterSupplyZoneID | WaterSupplyZoneName | WSZ_latitude | WSZ_longtitude | WaterSupplyZoneResidentialPopulation | WaterSupplyZoneVolume | Year | Closed (Y/N) | Reason (if closed) | New ID (if closed)

## 3bWaterSupplyZones
WaterSupplyZoneID | WaterSupplyZoneName | WSZ_latitude | WSZ_longtitude | WaterSupplyZoneResidentialPopulation | WaterSupplyZoneVolume | Year | Closed (Y/N) | Reason (if closed) | New ID (if closed)